## Slide 1
Cell Site Security
Video 8.5
Physical Security for 5G Networks

## Slide 2: 7 Million
That’s how many cell sites exist worldwide for over 5 billion mobile phone subscribers.
Notes: Something that needs to grab the viewers attention!!

## Slide 3
Threats
  Theft
    Copper cables and copper metal
    Batteries
    Diesel fuel
  Vandalism
    Fire and damage
Threats and Strategies
Strategies
  Access controls and systems
    Knowing who, what, and when
  Improving video systems surveillance
    Correlating events for alarms
  Remote monitoring
    Fuel and batteries

## Slide 4
Establish a perimeter defense around the cell site.
Have camera surveillance systems that leverage software.
Invest in building automation for lighting, access, motion detection, and deterring theft.
Ensure remote monitoring of generators and diesel fuel.
Monitor power and batteries at the cell site.
Counter social media influence.
Improve Cell Site Security

## Slide 5
Key Takeaways
Cell Sites are Increasing
Increasing risk of theft and vandalism.
Strategies to Mitigate the Threat
Control access and monitor.
Concrete Steps to Protect Cell Sites
Specific actions can be taken to provide security.
01
02
03

## Slide 6
Section Summary
Next Video